## Sheet 1 - Table 1 - Table 1
FIXTURE | APPLIANCE NO. | RESISTANCE | INSULATION | RESULT | NOTES
SQUARE FLOOD | 1407 | - | 9.9 | PASS | LOW LOAD
SQUARE FLOOD | 1470 | - | 9.9 | PASS | -
SQUARE FLOOD | 1402 | - | 9.9 | PASS | -
SQUARE FLOOD | 1471 | 0.2 | 9.9 | PASS
SQUARE FLOOD | 1403 | - | 9.9 | PASS | -
SQUARE FLOOD | 1404 | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED - AQUA/BLUE/GREEN | 40001382 | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED - AQUA/BLUE/GREEN | 40001386 | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED - AQUA/BLUE/GREEN | NEW | - | - | PASS
PHILLIPS 6-PIXEL LED - AQUA/BLUE/GREEN | 40001381 | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED - BLUE | 4000138- | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-WHITE | 40001387 | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-RED | 40001385 | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-RED | 40001384 | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-GREEN | 40001383 | - | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-RGB | 1413 | 0.15 | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-AWB | 1412 | 0.11 | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-AWB | 1417 | 0.13 | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-RGB | 1420 | 0.09 | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-AWB | 1418 | 0.1 | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED-AWB | 1409 | 0.1 | 9.9 | PASS | LOW LOAD
PHILLIPS 6-PIXEL LED- AQUA/BLUE.GREEN | BCP730 | 0.1 | 9.9 | PASS
LED WIDE BATON - BLUE | 1379 | 0.12 | 9.9 | PASS
LED WIDE BATON - BLUE | 1391 | 0.13 | 9.9 | PASS
LED WIDE BATON - ORANGE | 1387 | 0.14 | 9.9 | PASS
LED WIDE BATON - WHITE | 1386 | 0.14 | 9.9 | PASS
LED WIDE BATON - WHITE | 1381 | 0.14 | 9.9 | PASS
LED WIDE BATON - WHITE | 1388 | 0.11 | 9.9 | PASS
LED WIDE BATON - RED | 1423 | 0.13 | 9.9 | PASS
LED WIDE BATON - GREEN | 1384 | 0.11 | 9.9 | PASS
LED BEAM ORANGE | 1457 | - | 9.9 | PASS
LED BEAM BLUE | 1466 | - | 9.9 | PASS
LED BEAM ORANGE | 1450 | - | 9.9 | PASS
LED BEAM RED | 1456 | - | - | PASS
LED BEAM RED | 1455 | - | - | PASS | NO BASE PLATE
LED BEAM GREEN | 1462 | - | - | PASS
LED BEAM GREEN | 1445 | - | - | FAIL
LED BEAM RED | 1467 | - | - | PASS
LED BEAM GREEN | 1464 | - | - | PASS
LED BEAM ORANGE | 1454 | - | - | PASS
LED BEAM WHITE | 1448 | - | - | PASS
LED BEAM WHITE | 1465 | - | - | PASS
LED BEAM WHITE | 1452 | - | - | PASS
LED BEAM WHITE | 1456 | - | - | PASS
LED BEAM WHITE | 1453 | - | - | PASS
LED BEAM BLUE | 1463 | - | - | PASS
LED BEAM BLUE | 1451 | - | - | PASS
LED BEAM BLUE | 1450 | - | - | PASS
LED BEAM ORANGE | 1457 | - | - | PASS
LED BEAM ORANGE | 1458 | - | - | PASS
LED BEAM ORANGE | 1460 | - | - | PASS
LED BEAM WHITE | 1447 | - | - | PASS
LED BEAM ORANGE | 1461 | - | - | PASS
LED BEAM ORANGE | 1452 | - | - | FAIL
LED BEAM ORANGE | 1449 | - | - | FAIL
LED BEAM ORANGE | 1459 | - | - | PASS
LED SMALL BATON - BLUE | 40001408 | - | 9.9 | PASS | -
PINSPOT | 1359 | - | 9.9 | PASS | REPLACE BULB
MINI FLOOD - PHILIPS CDM FLOOD | 1304 | 0.11 | 9.9 | PASS | -
MINI FLOOD - PHILIPS CDM FLOOD | 1302 | 0.11 | 9.9 | PASS | -
MINI FLOOD - PHILIPS CDM FLOOD | 1303 | 0.11 | 9.9 | PASS | LOW LOAD
MINI FLOOD - PHILIPS CDM FLOOD141 | 1301 | 0.1 | 9.9 | PASS | LOW LOAD
LED BATON NARROW - | 1398 | - | - | FAIL | NO RESPONSE
LED BATON NARROW - | 1492 | - | - | FAIL | BROKEN CASING
LED BATON NARROW - | 1393 | - | - | FAIL | CRACKED CASING
PHILLIPS LED BATON NARROW - BLUE | 1428 | 0.11 | 9.9 | PASS
IGUZZINI LED BATON NARROW - AMBER | 1396 | - | - | PASS | NO EARTH. VISUAL TEST
IGUZZINI LED BATON NARROW - BLUE | 1394 | - | - | PASS | NO EARTH. VISUAL TEST
PHILLIPS LED BATON NARROW - AWB | 1432 | 0.09 | 9.9 | PASS
IGUZZINI LED BATON NARROW - RED | 1400 | - | - | PASS | NO EARTH. VISUAL TEST
IGUZZINI LED BATON NARROW - WHITE |  | - | - | PASS | NO EARTH. VISUAL TEST
PHILLIPS LED BATON NARROW -WHITE | 1427 | 0.8 | 9.9 | PASS
HALIDE FLOOD | 1327 | 0.16 | 9.9 | PASS
HALIDE FLOOD | 1328 | 0.14 | 9.9 | PASS | LOW LOAD - EXPOSED WIRE
RANDOMS:
BIRDIES | 1358 | - | - | PASS | NO EARTH. VISUAL TEST
STRANGE SQUARE LINE PROJECTOR | - | 0.19 | 9.9 | PASS
STRANGE SQUARE LINE PROJECTOR | 1290 | 0.21 | 9.9 | PASS
BROWN TABLE LAMP | - | 0.15 | 9.9 | PASS
GREY TABLE LAMP | 1438 | 0.15 | 9.9 | PASS
GREY TABLE LAMP | 1439 | 0.12 | 9.9 | PASS
TALL TABLE LAMP | 1366 | 0.13 | 9.9 | PASS
TALL TABLE LAMP | 1367 | - | - | FAIL | FAULTY WIRE/ FAILED EARTHING
SMALL LED GROUND LIGHT | 1500 | 0.09 | 9.9 | PASS
DISCHARGE GROUND LIGHT | 1296 | 0.12 | 9.9 | PASS
DISCHARGE GROUND LIGHT | 1295 | 0.14 | 9.9 | PASS
TABLE LAMP W/CLIP | 1362 | - | - | FAIL
DISCHARGE FLOOD | 1359 | - | - | FAIL
WEIRD TALL LAMP | 1369 | 0.09 | 9.9 | PASS
SMALL LED GROUND LIGHT | 1292 | 0.09 | 9.9. | PASS